## Acne
Case | Count | Density | RI | Decision | Case | Count | Density | RI | WSI | Referral Flag | Points to be considered:
1 | Mild | Mild | Mild | Mild | 1 | 0 | 0 | 0 | 0 | -- | If any lesion is classified as nodule/cyst (or ruptured/bleeding) then consider it as severe irrespective of WSI
2 | Mild | Mild | Moderate | Mild | 2 | 0 | 0 | 0.5 | 0.125 | Mild | if RI = severe + lesion count = moderate then consider it as severe, prevernts underestimating spread of inflammation
3 | Mild | Mild | Severe | Mild | 3 | 0 | 0 | 0.5 | 0.125 | Mild with with severe inflammation | if count & density are mild but redness is severe then consider it as mild with adivosry flag.
4 | Mild | Moderate | Mild | Mild | 4 | 0 | 0.5 | 0 | 0.125 | Mild | Flag: High inflammation detected - monitor closely
5 | Mild | Moderate | Moderate | Moderate | 5 | 0 | 0.5 | 0.5 | 0.25 | Mild
6 | Mild | Moderate | Severe | Moerate | 6 | 0 | 0.5 | 1 | 0.375 | Moderaet with severe inflammation | Override rule
7 | Mild | Severe | Mild | Mild | 7 | 0 | 1 | 0 | 0.25 | Mild with severe pigmentation
8 | Mild | Severe | Moderate | Moderate | 8 | 0 | 1 | 0.5 | 0.375 | Moderate with severe pigmentation
9 | Mild | Severe | Severe | Severe | 9 | 0 | 1 | 1 | 0.5 | Moderate with severe pigmentation and inflamatnio
10 | Moderate | Mild | Mild | Mild | 10 | 0.5 | 0 | 0 | 0.25 | Mild
11 | Moderate | Mild | Moderate | Moerate | 11 | 0.5 | 0 | 0.5 | 0.375 | Moderate
12 | Moderate | Mild | Severe | Moderate | 12 | 0.5 | 0 | 1 | 0.5 | Moderate with severe inflmmation
13 | Moderate | Moderate | Mild | Moderate | 13 | 0.5 | 0.5 | 0 | 0.375 | Moderate
14 | Moderate | Moderate | Moderate | Moderate | 14 | 0.5 | 0.5 | 0.5 | 0.5 | Moderate
15 | Moderate | Moderate | Severe | Severe | 15 | 0.5 | 0.5 | 1 | 0.625 | Moderate with severe inflammation
16 | Moderate | Severe | Mild | Moderate | 16 | 0.5 | 1 | 0 | 0.5 | Moderate with severe pigmentation
17 | Moderate | Severe | Moderate | Moderate | 17 | 0.5 | 1 | 0.5 | 0.625 | Moderate with severe pigmentatino
18 | Moderate | Severe | Severe | Severe | 18 | 0.5 | 1 | 1 | 0.75 | Severe
19 | Severe | Mild | Mild | Mild | 19 | 1 | 0 | 0 | 0.5 | Moderate with severe count
20 | Severe | Mild | Moderate | Moderate | 20 | 1 | 0 | 0.5 | 0.625 | Moderate with severe count
21 | Severe | Mild | Severe | Severe | 21 | 1 | 0 | 1 | 0.75 | Severe
22 | Severe | Moderate | Mild | Moderate | 22 | 1 | 0.5 | 0 | 0.625 | Moderate with severe count
23 | Severe | Moderate | Moderate | Moderate | 23 | 1 | 0.5 | 0.5 | 0.75 | severe
24 | Severe | Moderate | Severe | Severe | 24 | 1 | 0.5 | 1 | 0.875 | severe
25 | Severe | Severe | Mild | Severe | 25 | 1 | 1 | 0 | 0.75 | severe
26 | Severe | Severe | Moderate | Severe | 26 | 1 | 1 | 0.5 | 0.875 | severe
27 | Severe | Severe | Severe | Severe | 27 | 1 | 1 | 1 | 1 | severe
Decision (Final Severity) = the band agreed by ≥2 parameters
In case of Mild + moderate + Severe = Average i.e. moderate is considered. which is tiebreaker
However, on clinical point of view we can break this tiebraker rule,,, & for this discussion is required

## Pigmentation
Case | % area | delta gray | MI | Decision | Case | % area | delta gray | MI | WSI | referral | Points to be considered
1 | Mild | Mild | Mild | Mild | 1 | 0 | 0 | 0 | 0 | Mild | If % are > 50 % consider severe
2 | Mild | Mild | Moderate | Mild | 2 | 0 | 0 | 0.5 | 0.125 | Mild | If MI > 150 and ΔGray > 80 consider severe (very dark, high contrast)
3 | Mild | Mild | Severe | Mild | 3 | 0 | 0 | 0.5 | 0.125 | Mild with severe MI | If area Mild (<10%) but ΔGray Severe (>50) consider mild but with flag
4 | Mild | Moderate | Mild | Mild | 4 | 0 | 0.5 | 0 | 0.125 | Mild
5 | Mild | Moderate | Moderate | Moderate | 5 | 0 | 0.5 | 0.5 | 0.25 | Mild
6 | Mild | Moderate | Severe | Moerate | 6 | 0 | 0.5 | 1 | 0.375 | Moderate with severe MI
7 | Mild | Severe | Mild | Mild | 7 | 0 | 1 | 0 | 0.25 | Mild with severe contrast
8 | Mild | Severe | Moderate | Moderate | 8 | 0 | 1 | 0.5 | 0.375 | Moderate with sever contrast
9 | Mild | Severe | Severe | Severe | 9 | 0 | 1 | 1 | 0.5 | Mild
10 | Moderate | Mild | Mild | Mild | 10 | 0.5 | 0 | 0 | 0.25 | Mild
11 | Moderate | Mild | Moderate | Moerate | 11 | 0.5 | 0 | 0.5 | 0.375 | Moderate
12 | Moderate | Mild | Severe | Moderate | 12 | 0.5 | 0 | 1 | 0.5 | Moderat with severe MI
13 | Moderate | Moderate | Mild | Moderate | 13 | 0.5 | 0.5 | 0 | 0.375 | Moderate
14 | Moderate | Moderate | Moderate | Moderate | 14 | 0.5 | 0.5 | 0.5 | 0.5 | Moderate
15 | Moderate | Moderate | Severe | Severe | 15 | 0.5 | 0.5 | 1 | 0.625 | Moderate with severe MI
16 | Moderate | Severe | Mild | Moderate | 16 | 0.5 | 1 | 0 | 0.5 | Moderate with severe contrast
17 | Moderate | Severe | Moderate | Moderate | 17 | 0.5 | 1 | 0.5 | 0.625 | Moderate with severe contrast
18 | Moderate | Severe | Severe | Severe | 18 | 0.5 | 1 | 1 | 0.75 | Severe
19 | Severe | Mild | Mild | Mild | 19 | 1 | 0 | 0 | 0.5 | Moderate
20 | Severe | Mild | Moderate | Moderate | 20 | 1 | 0 | 0.5 | 0.625 | Moderat with severe %
21 | Severe | Mild | Severe | Severe | 21 | 1 | 0 | 1 | 0.75 | Severe
22 | Severe | Moderate | Mild | Moderate | 22 | 1 | 0.5 | 0 | 0.625 | moderate with severe %
23 | Severe | Moderate | Moderate | Moderate | 23 | 1 | 0.5 | 0.5 | 0.75 | Severe
24 | Severe | Moderate | Severe | Severe | 24 | 1 | 0.5 | 1 | 0.875 | Severe
25 | Severe | Severe | Mild | Severe | 25 | 1 | 1 | 0 | 0.75 | Severe
26 | Severe | Severe | Moderate | Severe | 26 | 1 | 1 | 0.5 | 0.875 | Severe
27 | Severe | Severe | Severe | Severe | 27 | 1 | 1 | 1 | 1 | Severe

## Wrinkles
Case | Count | Length | delta Gray | Decision | Case | Count | Density | RI | WSI | Referral
1 | Mild | Mild | Mild | Mild | 1 | 0 | 0 | 0 | 0 | Mild
2 | Mild | Mild | Moderate | Mild | 2 | 0 | 0 | 0.5 | 0.125 | Mild
3 | Mild | Mild | Severe | Mild | 3 | 0 | 0 | 0.5 | 0.125 | Mild with severe wrinkle depth
4 | Mild | Moderate | Mild | Mild | 4 | 0 | 0.5 | 0 | 0.125 | Mild
5 | Mild | Moderate | Moderate | Moderate | 5 | 0 | 0.5 | 0.5 | 0.25 | Mild with moderate wrinkle length and wrinkle depth
6 | Mild | Moderate | Severe | Moerate | 6 | 0 | 0.5 | 1 | 0.375 | Moderate with severe wrinkle depth
7 | Mild | Severe | Mild | Mild | 7 | 0 | 1 | 0 | 0.25 | mild with severe wrinkle length
8 | Mild | Severe | Moderate | Moderate | 8 | 0 | 1 | 0.5 | 0.375 | moderate with severe wrinkle length
9 | Mild | Severe | Severe | Moderate | 9 | 0 | 1 | 1 | 0.5 | Moderate with sever wrinkle length and wrinkle depth
10 | Moderate | Mild | Mild | Mild | 10 | 0.5 | 0 | 0 | 0.25 | mild
11 | Moderate | Mild | Moderate | Moerate | 11 | 0.5 | 0 | 0.5 | 0.375 | Moderate
12 | Moderate | Mild | Severe | Moderate | 12 | 0.5 | 0 | 1 | 0.5 | Moderate with severe wrinkle depth
13 | Moderate | Moderate | Mild | Moderate | 13 | 0.5 | 0.5 | 0 | 0.375 | Moderate
14 | Moderate | Moderate | Moderate | Moderate | 14 | 0.5 | 0.5 | 0.5 | 0.5 | Moderate
15 | Moderate | Moderate | Severe | Severe | 15 | 0.5 | 0.5 | 1 | 0.625 | Moderate with sever wrinkle depth
16 | Moderate | Severe | Mild | Moderate | 16 | 0.5 | 1 | 0 | 0.5 | Moderate with sever wrinkle length
17 | Moderate | Severe | Moderate | Moderate | 17 | 0.5 | 1 | 0.5 | 0.625 | Moderate with sever wrinkle length
18 | Moderate | Severe | Severe | Severe | 18 | 0.5 | 1 | 1 | 0.75 | Severe
19 | Severe | Mild | Mild | Mild | 19 | 1 | 0 | 0 | 0.5 | Moderate with severe wrinkle count
20 | Severe | Mild | Moderate | Moderate | 20 | 1 | 0 | 0.5 | 0.625 | Moderate with severe wrinkle count
21 | Severe | Mild | Severe | Severe | 21 | 1 | 0 | 1 | 0.75 | Severe
22 | Severe | Moderate | Mild | Moderate | 22 | 1 | 0.5 | 0 | 0.625 | Moderate with severe wrinkle count
23 | Severe | Moderate | Moderate | Moderate | 23 | 1 | 0.5 | 0.5 | 0.75 | severe
24 | Severe | Moderate | Severe | Severe | 24 | 1 | 0.5 | 1 | 0.875 | severe
25 | Severe | Severe | Mild | Severe | 25 | 1 | 1 | 0 | 0.75 | severe
26 | Severe | Severe | Moderate | Severe | 26 | 1 | 1 | 0.5 | 0.875 | severe
27 | Severe | Severe | Severe | Severe | 27 | 1 | 1 | 1 | 1 | severe